## Watersupply
Estimate Quantity (only Figures) | Item Detailed Specification Description | Work Type eg. Earth Work, Electrical works.. etc ( upto 200 Characters) | Item Short Description ( upto 100 Characters) | APSS / Morth Cl. Number ( upto 200 Characters) | Rate (INR) ( Upto 2 Decimals ) | UOM ( upto 50 Characters) | Amount (INR) ( Upto 2 Decimals )
25000 | Providing and placing on terrace (at all floor levels)polyetheylene water storage tank with double layer approved brand and manufacture with cover and suitable locking arrangement and making necessary holes for inlet and outlets and over flow pipes but without fittings and base support for tanks including cost and conveyance of all materials and labour charges , overheads & contractors profit complete for finished item of work. | Water Supply | Providing and placing on terrace (at all floor levels)polyetheylene water storage tank with double layer approved brand and manufacture with cover and suitable locking arrangement and making necessary holes for inlet and outlets and over flow pipes but without fittings and base support for tanks including cost and conveyance of all materials and labour charges , overheads & contractors profit complete for finished item of work. | as per tender document | 5.9648 | Litre | 149119.6875
1 | Supply, Transportation and Errection of 7.50 HP 10 Stage, 5 Star Three Phase ISI Submersible Motor Pumpset suitablefor 4" Bore make of Kirloskar/Crompton/Texmo/KSB/Aryan Varsha/Lubi of ISI make approved by the dept., suitable for errection in Open Well with water resistant dynamically balanced impeller with stainless steel shaft, sleeves, pump coupling and pivot of 3 Phase, 415 V, 50 Hz, A.C. Power supply, heavy copper winding with water proof insulation and high precision, strength not to be effected by chemical in water with suitable bronze bearings, 7.50 HP Pump errected with necessary H-type clamps, nuts & bolts etc., of suitable size and strength and including cost and conveyance of all materials to site of work, transportation and all labour charges etc., | Water Supply | Supply, Transportation and Errection of 7.50 HP 10 Stage, 5 Star Three Phase ISI Submersible Motor Pumpset suitablefor 4" Bore make of Kirloskar/Crompton/Texmo/KSB/Aryan Varsha/Lubi of ISI make approved by the dept., suitable for errection in Open Well with water resistant dynamically balanced impeller with stainless steel shaft, sleeves, pump coupling and pivot of 3 Phase, 415 V, 50 Hz, A.C. Power supply, heavy copper winding with water proof insulation and high precision, strength not to be effected by chemical in water with suitable bronze bearings, 7.50 HP Pump errected with necessary H-type clamps, nuts & bolts etc., of suitable size and strength and including cost and conveyance of all materials to site of work, transportation and all labour charges etc., | as per tender document | 45952.4227 | Nos | 45952.4227
210 | S& F 50 mm Nominal Bore GI pipe Medium Grade properties & weight as per IS 1239 ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | Water Supply | S& F 50 mm Nominal Bore GI pipe Medium Grade properties & weight as per IS 1239 ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | as per tender document | 537 | rmt | 112770
165 | S& F 32 mm Nominal Bore GI pipe Medium Grade properties & weight as per IS 1239ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | Water Supply | S& F 32 mm Nominal Bore GI pipe Medium Grade properties & weight as per IS 1239ISI mark with GI fittings including the cost of pipe & its fittings & labour charges complete | as per tender document | 420 | rmt | 69300
5 | Manufacture, Supply and delivery of PN-1.6 CI D/F Sluice valves conforming to IS 14846/2000 with amendments No. 1&2 heavy duty with CI grade FG 260 as per IS: 210. Two coats of primer suitable for EPOXY PAINTS finish shall be applied to all metal surface and finally two coats of Epoxy Paint. The Valves shall be tested for (closed end Test) against Hydrostatic test requirement. The rates are including transportation, over heads and contractor profit., complete. | Water Supply | Manufacture, Supply and delivery of PN-1.6 CI D/F Sluice valves conforming to IS 14846/2000 with amendments No. 1&2 heavy duty with CI grade FG 260 as per IS: 210. Two coats of primer suitable for EPOXY PAINTS finish shall be applied to all metal surface and finally two coats of Epoxy Paint. The Valves shall be tested for (closed end Test) against Hydrostatic test requirement. The rates are including transportation, over heads and contractor profit., complete. | as per tender document | 4648.5989 | Nos | 23242.9945
50 | Supply and fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings SDR 13.5 to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" to 2") for hot and cold water (IS 15778:2007) including cost and conveyance of all materials to site, labour charges for fixing, overheads & contractors profit complete for finished item of work at all floor levels. | Water Supply | Supply and fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings SDR 13.5 to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" to 2") for hot and cold water (IS 15778:2007) including cost and conveyance of all materials to site, labour charges for fixing, overheads & contractors profit complete for finished item of work at all floor levels. | as per tender document | 140 | MT | 7000
100 | Supply and fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings SDR 13.5 to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" to 2") for hot and cold water (IS 15778:2007) including cost and conveyance of all materials to site, labour charges for fixing, overheads & contractors profit complete for finished item of work at all floor levels. | Water Supply | Supply and fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings SDR 13.5 to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" to 2") for hot and cold water (IS 15778:2007) including cost and conveyance of all materials to site, labour charges for fixing, overheads & contractors profit complete for finished item of work at all floor levels. | as per tender document | 219 | rmt | 21900
100 | Supply and fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings SDR 13.5 to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" to 2") for hot and cold water (IS 15778:2007) including cost and conveyance of all materials to site, labour charges for fixing, overheads & contractors profit complete for finished item of work at all floor levels. | Water Supply | Supply and fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings SDR 13.5 to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" to 2") for hot and cold water (IS 15778:2007) including cost and conveyance of all materials to site, labour charges for fixing, overheads & contractors profit complete for finished item of work at all floor levels. | as per tender document | 496 | rmt | 49600
478885.1047